EEG-Only Acute-Pain Formula Validation

Consolidated empirical results, formula comparisons, and test-status audit

Version date: 26 October 2026 | Aggregate-level testing reproduced locally

Core finding: three simple EEG formulas were applied to genuine published group-average N2/P2 values and tested with a leave-one-pain-band-out calculation. These are aggregate checks only. Individual trial and patient validation is not completed because no paired trial-level EEG feature matrix could be downloaded into the compute environment.

DO NOT USE CLINICALLY. The 5, 7 and 9 targets below are assigned NRS band midpoints, not observed trial-level mean ratings. Near-perfect scores are expected when a line is calibrated on three group means; they do not validate an individual pain scale.

# 1. Data and signal values

The primary numerical source is Li et al. (2018), which reports group-average N2 and P2 laser-evoked potential peak amplitudes for three pain-rating bands. N2–P2 is derived here by subtracting the published mean N2 peak from the mean P2 peak. The standard deviation of N2–P2 was not derived because the N2/P2 covariance is unavailable in this table.

| Pain-rating band | Assigned target* | N2 mean ± SD (µV) | P2 mean ± SD (µV) | Derived N2–P2 (µV) |
| --- | --- | --- | --- | --- |
| 4 < NRS <= 6 | 5.0 | -7.58 ± 8.88 | 7.14 ± 8.20 | 14.72 |
| 6 < NRS <= 8 | 7.0 | -19.06 ± 12.72 | 19.38 ± 11.98 | 38.44 |
| 8 < NRS <= 10 | 9.0 | -30.13 ± 18.84 | 31.34 ± 12.70 | 61.47 |

*Targets 5, 7 and 9 are band midpoints used for this exploratory calibration, not individual observed NRS values. Source: https://pmc.ncbi.nlm.nih.gov/articles/PMC5991169/

# 2. Formulas actually fitted and applied

Each fitted linear equation maps one published aggregate feature to the assigned midpoint. They are applied to the same three aggregate points used to estimate coefficients; the leave-one-band-out check refits to the other two band means and predicts the omitted band.

| Formula | Score equation |
| --- | --- |
| F-P2 | ŷ = 3.812263 + 0.165282 × P2 (µV) |
| F-N2P2 | ŷ = 3.730933 + 0.085555 × (P2 − N2) (µV) |
| F-¦N2¦ | ŷ = 3.643681 + 0.177364 × ¦N2¦ (µV) |
| External P2 power law | ŷ = (P2 / 8.1)^(1/0.78), clipped to 0–10; inverse of a previously published equation, not fitted to these values |

# 3. Numerical performance comparison

| Formula | In-sample MAE | LO-band-out MAE | LO-band-out RMSE | Leave-one-band-out predictions | Spearman ρ | Exact p |
| --- | --- | --- | --- | --- | --- | --- |
| P2 linear | 0.0103 | 0.0386 | 0.0401 | 4.953; 7.023; 8.954 | 1.000 | 0.333 |
| N2–P2 linear | 0.0131 | 0.0492 | 0.0511 | 4.940; 7.030; 8.942 | 1.000 | 0.333 |
| ¦N2¦ linear | 0.0162 | 0.0606 | 0.0630 | 4.926; 7.036; 8.929 | 1.000 | 0.333 |
| External power law | 3.8074 | N/A (fixed external coefficients) | N/A | 0.851; 3.060; 5.667 | 1.000 | 0.333 |

P2 linear has the lowest leave-one-band-out MAE (0.0386), followed by N2–P2 (0.0492) and absolute N2 (0.0606). This ranking is not statistically meaningful: only three aggregate points are used, and linear fitting to two remaining points makes the leave-one-band-out test a very small interpolation/extrapolation check. The external power law greatly underpredicts this higher-rating range, but its original fit was reported for roughly NRS 1–5, so this is an out-of-range transfer stress test rather than a fair refit comparison.

# 4. Statistical checks and signal dispersion

| Test | Result | Interpretation |
| --- | --- | --- |
| Monotonic ordering: P2 vs. band midpoint | Spearman ρ = 1.000 | All 3 mean values increase in order |
| Monotonic ordering: N2–P2 vs. band midpoint | Spearman ρ = 1.000 | All 3 derived mean values increase in order |
| Monotonic ordering: ¦N2¦ vs. band midpoint | Spearman ρ = 1.000 | All 3 absolute mean values increase in order |
| Exact two-sided permutation test (each feature) | p = 0.333; 6 permutations | Not significant; n=3 aggregate points |
| P2 standardized mean difference (band 1 vs 2) | 1.192 | Descriptive only; no inferential CI/p-value |
| P2 standardized mean difference (band 2 vs 3) | 0.969 | Descriptive only; adjacent-band SD intervals overlap |
| P2 standardized mean difference (band 1 vs 3) | 2.264 | Descriptive endpoint separation, not trial classification |

The P2 mean ± 1 SD ranges are −1.06–15.34, 7.40–31.36 and 18.64–44.04 µV; the N2 ranges are −16.46–1.30, −31.78–−6.34 and −48.97–−11.29 µV. Neighboring ranges overlap. These are not prediction intervals, but they underscore that ordered group means cannot imply reliable classification of an individual trial.

# 5. Formula families that could not be evaluated

The available three-point aggregate table does not include the feature vectors, IDs, temporal order or individual ratings needed for the full formulas already specified in the project. The remaining families are recorded as not testable here rather than given fabricated scores.

| Formula/test family | Why no result is claimed |
| --- | --- |
| Alpha-only sigmoid | No paired alpha feature values |
| Ordinal model | Only three group midpoints |
| Ridge/elastic net/GAM/boosting | No individual multifeature rows |
| Personalized/mixed effects | No subject IDs and repeated subject trials |
| Temporal smoothing | No ordered trials |
| Spectral/connectivity/entropy/FAA | Required features absent |
| Participant-held-out CV / class confusion | No subject-linked trial predictions |
| Cross-dataset validation | No local harmonized trial-level files |
| Clinical acute-pain validation | Healthy volunteer LEPs alone are insufficient |

# 6. Independent benchmark and its scope

A third-party public repository reports a separate subject-level pain-sensitivity classification task on OpenNeuro ds005284: 26 participants initially, a median split on calibration threshold (Pain_Threshold_7), and no trial-level subjective pain ratings in that dataset release. It reports balanced accuracy 0.671 for P2 latency alone after two exclusions, with 1,000 label permutations and p=0.032. This is an external published/repository-reported analysis, not a rerun here and not a test of 0–10 trial-intensity scores. Its values are supplied in external_subject_classifier_benchmark.csv.

# 7. Raw-data access audit

The 2025 multi-experiment LEP paper describes 678 healthy participants with BIDS EEG data and single-trial pain ratings available in epoch metadata, plus supplementary data and MATLAB code. During this run the browser-based research interface could inspect the dataset description and repository file listings; the local container requests to raw.githubusercontent.com and github.com failed with “Temporary failure in name resolution.” No raw EEG binaries or paired individual feature table were locally retrieved. See data_access_audit.txt.

# 8. Trial-level validation workflow and final verdict

Use genuine EEG-derived features matched to each observed trial pain rating (subject_id, trial_id, pain_nrs, feature columns). Do not send group means to the trial-level pipeline.

Run acute_trial_validation_pipeline.py: participant-grouped cross-validation, OOF scores, MAE/RMSE/bias/R², within-1/within-2-point rates, pain category accuracy, balanced accuracy, macro-F1, weighted kappa, per-subject metrics, cluster bootstrap and feature associations.

For confirmatory inference, add design-aware label permutations, nested/independent model selection, chronological within-subject holdout, second-dataset replication, artifact sensitivity, feature ablation, multiplicity correction and subgroup checks when n supports them.

Current verdict: aggregate trend passes descriptively; no formula is validated for individual patients/trials; clinical usefulness remains undetermined.

# References

Li X et al. Magnitude and Temporal Variability of Inter-stimulus EEG Modulate the Linear Relationship Between Laser-Evoked Potentials and Fast-Pain Perception. Front Neurosci. 2018;12:340. https://doi.org/10.3389/fnins.2018.00340

Wager TD, Matre D, Casey KL. Placebo effects in laser-evoked pain potentials. Brain Behav Immun. 2006;20(3):219–230. https://doi.org/10.1016/j.bbi.2006.01.007

Zhao X et al. A comprehensive EEG dataset of laser-evoked potentials for pain research. Scientific Data. 2025;12:1536. https://doi.org/10.1038/s41597-025-05900-1

Sun G et al. Detecting acute pain signals from human EEG. J Neurosci Methods. 2021;347:108964. https://pmc.ncbi.nlm.nih.gov/articles/PMC7744433/

Supplementary data/code: https://github.com/XiangyueZhao/Supplement-Data

External subject classifier audit (not re-run): https://github.com/Sai-sasi/eeg-pain-sensitivity-classifier